Bixby Site Visit Q&As

What is the model of switches being replaced?  2540

Do you need layer 3 or layer 2? Layer 2

What Speed? 10G

Floor or Wall Mounts?  Mostly Floor

Do you need cabling for any APs or Switches?  No

Are we participating in the Cyber Security Pilot? No

Would we break up vendors based on items?  Not sure about that?  We would prefer one

Will any of the APs require a lift?  Yes, and we do have one on site